## Slide 1: Circuit Variables and Elements

## Slide 2: Outline
Charge Current Voltage Power Energy
Active Circuit Elements Independent Sources Dependent Sources
Passive Circuit Elements
Resistors Inductors Capacitors

## Slide 3: Outline
Charge Current Voltage Power Energy
Active Circuit Elements Independent Sources Dependent Sources
Passive Circuit Elements
Resistors Inductors Capacitors

## Slide 4: Outline
Charge Current Voltage Power Energy
Active Circuit Elements Independent Sources Dependent Sources
Passive Circuit Elements
Resistors Inductors Capacitors

## Slide 5: Outline
Charge Current Voltage Power Energy
Active Circuit Elements Independent Sources Dependent Sources
Passive Circuit Elements
Resistors Inductors Capacitors

## Slide 6: Outline
Charge Current Voltage Power Energy
Active Circuit Elements Independent Sources Dependent Sources
Passive Circuit Elements
Resistors Inductors Capacitors

## Slide 7: Outline
Charge Current Voltage Power Energy
Active Circuit Elements Independent Sources Dependent Sources
Passive Circuit Elements
Resistors Inductors Capacitors

## Slide 8: Outline
Charge Current Voltage Power Energy
Active Circuit Elements Independent Sources Dependent Sources
Passive Circuit Elements
Resistors Inductors Capacitors

## Slide 9: Outline
Charge Current Voltage Power Energy
Active Circuit Elements Independent Sources Dependent Sources
Passive Circuit Elements
Resistors Inductors Capacitors

## Slide 10: Outline
Charge Current Voltage Power Energy
Active Circuit Elements Independent Sources Dependent Sources
Passive Circuit Elements
Resistors Inductors Capacitors

## Slide 11: Outline
Charge Current Voltage Power Energy
Active Circuit Elements Independent Sources Dependent Sources
Passive Circuit Elements
Resistors Inductors Capacitors

## Slide 12: Outline
Charge Current Voltage Power Energy
Active Circuit Elements Independent Sources Dependent Sources
Passive Circuit Elements
Resistors Inductors Capacitors

## Slide 13: Outline
Charge Current Voltage Power Energy
Active Circuit Elements Independent Sources Dependent Sources
Passive Circuit Elements
Resistors Inductors Capacitors

## Slide 14: Charge
Charge Current Voltage
Charge
Charge is an electrical property of the atomic particles of which matter consists, measured in coulombs (C ).
Electric charge is mobile i,e, it can be transferred from one place to another, where it can be converted to another form of energy.
The charge e on an electron is negative and equal in magnitude to
1.6 × 10−19C , while a proton carries a positive charge of the same magnitude as the electron. The presence of equal numbers of protons and electrons leaves an atom neutrally charged.
The only charges that occur in nature are integral multiples of the electronic charge, e = 1.6 × 10−19C .
The law of conservation of charge states that charge can neither be created nor destroyed, only transferred. Thus the algebraic sum of the electric charges in a system does not change.
Alike charges repeal and opposite charges attract each other.

## Slide 15
Charge Current Voltage
Definition Direct Current
Alternating Current
Current
Current
Electric current is the time rate of change of charge, measured in amperes (A).
The relationship between current i , charge q, and time t is given by
dq
i ¾ dt .
1A = 1coulomb/second.
The charge transferred between time t0 and t is given by
∫
t
t0
Q ¾ idt.
The direction of current flow is conventionally taken as the direction of positive charge movement.

## Slide 16
Charge Current Voltage
Definition Direct Current
Alternating Current
Current[Cntd.]
Direct Current
A direct current (dc) is a current that remains constant with time.
By convention the symbol I is used to represent dc current. The capital letter I was chosen from the French word for current, intensite´.
I
t
Fig. 1. Direct current.

## Slide 17
Charge Current Voltage
Definition Direct Current
Alternating Current
Current[Cntd.]
Alternating Current
An alternating current (ac) is a current that varies sinusoidally with time.
By convention the symbol i is used to represent ac current.
i
t
0
Fig. 1. Alternating current.

## Slide 18
Charge Current Voltage
Definition Polarity
Voltage
Voltage
Voltage (or potential difference) is the energy required to move a unit charge through an element, measured in volts (V ).
The voltage between two points a and b in an electric circuit is given by
dw
vab ¾ dq
1volt = 1joule/coulomb = 1newton − meter/coulomb
A constant voltage is called a dc voltage and is represented by V , whereas a sinusoidally time-varying voltage is called an ac voltage and is represented by v .
A dc voltage is commonly produced by a battery and ac voltage is produced by an electric generator.

## Slide 19
Charge Current Voltage
Definition Polarity
Voltage[Cntd.]
1
The potential at point a with respect to point b is vab .
2
Point a is vab volts above point b and point b is −vab volts above
3
4
point a.
There is a vab voltage drop from a to b or equivalently a vab voltage rise from b to a.
In general, vab = −vba.
Vab
-Vab
- b (1)
+ b (2)
a a
+ -
Fig. Voltage polarity.

## Slide 20
Power Energy
Definition Problem
Power
Power
Power is the time rate of expanding or absorbing energy, measured in watts (W ).
Mathematically,
dw dw dq
dq dt
p ¾ dt = . = vi
The power absorbed ar supplied by an element is the product of the voltage across the element and the current through it.
If current enters the positive terminal of the voltage then p = +vi and if current enters the negative terminal of the voltage then
p = −vi .
p = +vi implies that the element is absorbing power.
p = −vi implies that the element is supplying power.

## Slide 21
Power Energy
Definition Problem
Power[Cntd.]
4V
4V
+
-
4V
4V
-
-
+ (4)
(1)
+ -
(2) (3)
3A
3A 3A
+
3A
Fig. Absorbing and supplying power.
In fig. (1) and (2), p = −4 × 3 = −12W .
In fig. (3) and (4), p = 4 × 3 = 12W .
The algebraic sum of the power in a circuit, at any instant of time, is zero.
Σ p = 0
+Power absorbed = - Power supplied

## Slide 22: Energy
Power Energy
Energy
Energy is the capacity to do work, measured in joules (J).
The energy absorbed or supplied by an element from time t0 to time t is given by
∫ ∫
t t
w = pdt = vidt
t0 t0
Electric energy is measured in watt-hours(Wh), where
1Wh = 3600J

## Slide 23
Circuit Elements Active circuit elements Passive circuit elements
Types
Circuit Elements
There are two types of circuit elements:
1
2
Active circuit elements Passive circuit elements
Active circuit elements
Active circuit elements are capable of generating energy such as, generators, batteries, operational amplifiers etc.
Passive circuit elements
Passive circuit elements are not capable of generating energy such as, resistors, capacitors, inductors etc.
Most important active elements are voltage and current sources which deliver power to the circuit connected to them. There are two kinds of sources.
Independent sources
Dependent sources

## Slide 24
Circuit Elements Active circuit elements Passive circuit elements
Independent source
Symbols of independent source Dependent source
Symbols of dependent source
Sources
Independent source
An ideal independent source is an active element that provides a specified voltage ar current that is completely independent of other circuit elements.
Independent voltage source
An ideal independent voltage source delivers to the circuit whatever current is necessary to maintain its terminal voltage. Example: Generators and batteries.
Independent current source
An ideal independent current source delivers to the circuit whatever voltage is necessary to maintain the designated current.

## Slide 25
Circuit Elements Active circuit elements Passive circuit elements
Independent source
Symbols of independent source Dependent source
Symbols of dependent source
Sources[Cntd]
+
-
v
+
V
-
i
(1) (2) (3)
Fig. Symbol (1) and (2) for independent voltage source where (1) is used for constant and time varying voltage, (2) is used for constant voltage and (3) for independent current sources.

## Slide 26
Circuit Elements Active circuit elements Passive circuit elements
Independent source
Symbols of independent source Dependent source
Symbols of dependent source
Sources[Cntd]
Dependent source
An ideal dependent source is an active element in which the source quantity is controlled by another voltage or current.
Dependent sources are of four kinds:
1
2
3
4
Voltage-controlled voltage source (VCVS) Current-controlled voltage source (CCVS) Voltage-controlled current source (VCCS) Current-controlled current source (CCCS)
Application
Dependent sources are used for modeling elements such as transistors, operational amplifiers and integrated circuits.

## Slide 27
Circuit Elements Active circuit elements Passive circuit elements
Independent source
Symbols of independent source Dependent source
Symbols of dependent source
Sources[Cntd.]
Ideal voltage controlled voltage source
The equation for the supplied voltage vs is given by
vs = µvx ,
where vx is the controlling voltage and µ is a multiplying constant that is dimensionless.
Ideal current controlled voltage source
The equation for the supplied voltage vs is given by
vs = ρix ,
where ix is the controlling current and the multiplying constant, ρ has the dimension volts per ampere.

## Slide 28
Circuit Elements Active circuit elements Passive circuit elements
Independent source
Symbols of independent source Dependent source
Symbols of dependent source
Sources[Cntd.]
Ideal voltage controlled current source
The equation for the supplied current is is given by
is = αvx ,
where vx is the controlling voltage and the multiplying constant α has a dimension of ampere per volt.
Ideal current controlled current source
The equation for the supplied current is is given by
is = βix ,
where ix is the controlling current and the multiplying constant, β is dimensionless.

## Slide 29
Circuit Elements Active circuit elements Passive circuit elements
Independent source
Symbols of independent source Dependent source
Symbols of dependent source
Sources[Cntd.]
is  vx
is  ix
(a)
(b)
(c)
(d)
-
vs  vx vs  ix
+ +
-
Fig. Symbol for (a) ideal voltage controlled voltage source , (b) ideal current controlled voltage source, (c) ideal voltage controlled current source, (d) ideal current controlled current source.

## Slide 30
Circuit Elements Active circuit elements Passive circuit elements
Resistors Inductors Capacitors
Resistors
Resistor
The circuit element used to impede the flow of current or, more specifically, the flow of electric charge is called resistor.
R
Fig. Symbol for resistor.
Resistance
The capacity of resistor to impede the flow of current or, more specifically, the flow of electric charge is called resistance,expressed by R and measured in ohms(Ω).

## Slide 31
Circuit Elements Active circuit elements Passive circuit elements
Resistors Inductors Capacitors
Resistance[Cntd.]
Fig. Resistance.
Mathematically,
R = ρ
l A
where,
ρ = Resistivity of the material in ohm-meters
l = Length of the material
A = Area of cross section of the material.

## Slide 32
Circuit Elements Active circuit elements Passive circuit elements
Resistors Inductors Capacitors
Resistance[Cntd.]
Short Circuit
A short circuit is a circuit element with resistance approaching zero i,e,
R = 0. For a short circuit v = iR = 0.
Open Circuit
An open circuit is a circuit element with resistance approaching infinity
i,e, R = ∞. For an open circuit, i =
lim
R→∞ R
v = 0.
Fig. (a) short circuit and (b) open circuit.

## Slide 33
Circuit Elements Active circuit elements Passive circuit elements
Resistors Inductors Capacitors
Resistance[Cntd.]
Types of Resistors
Fixed i,e, their resistance is constant.
Variable i,e, their resistance is adjustable. Such as, potentiometer or pot.
Fig. Symbol for variable resistance.

## Slide 34
Circuit Elements Active circuit elements Passive circuit elements
Resistors Inductors Capacitors
Inductors
Inductor
Inductor is a passive element designed to store energy in its magnetic field. It consists of a coil of conducting wire. Inductors may be fixed or variable. The core may be made of iron, steel, plastic, or air.
Application
1
2
Electronics and power system
Power supplies, transformers, radios, TVs, radars and electric motors.
Fig. Symbol for inductor (a) air-core, (b) iron core, (c) variable iron-core.

## Slide 35
Circuit Elements Active circuit elements Passive circuit elements
Resistors Inductors Capacitors
Inductors[Cntd.]
(a) (b)
Fig. Various inductor configurations (a) solenoidal (b) toroidal.
Types and Configurations
Inductors are of two types: fixed and variable. An inductor may have different configurations such as solenoidal, toroidal etc.
Inductance
Inductance is the property whereby an inductor exhibits opposition to the change of current flowing through it, measured in henrys (H).
The inductance of a coil varies directly with the magnetic properties of the coil. Ferromagnetic materials, therefore, are frequently employed to increase the inductance by increasing the flux linking the coil.

## Slide 36
Circuit Elements Active circuit elements Passive circuit elements
Resistors Inductors Capacitors
Inductors[Cntd.]
Fig. A typical inductor.
The inductance of an inductor is given by
L =
N2µA
l
,
where,
N = Number of turns
µ = Permeability of the core A = Cross section of the core l = length of the core

## Slide 37
Circuit Elements Active circuit elements Passive circuit elements
Resistors Inductors Capacitors
Inductors[Cntd.]
Voltage-current relationship of an inductor is given by
v = L
di
dt
1
∫
t
t0
i = v (t)dt + i (t0)
L
The power delivered to the inductor is
di
p = vi = (L )i
dt
The energy stored in the inductor is given by
∫ ∫
t t
−∞ −∞
di
dt
w = pdt = (L )idt = L
∫
i (t)
i (−∞)
1
2
idi = Li
2

## Slide 38
Circuit Elements Active circuit elements Passive circuit elements
Resistors Inductors Capacitors
Inductors[Cntd.]
When the current through an inductor is not changing with time i,e,
dc current ( di = 0), the voltage across the inductor is zero.Thus,
dt
inductor is an short circuit to dc.
An inductor resists an abrupt change in the current through it. A discontinuous change in current requires infinite voltage, which is physically impossible. Conversely, voltage across an inductor can change instantaneously.
The ideal inductor does not dissipate energy. It takes power from the circuit when storing energy in its field and returns previously stored energy when delivering power to the circuit.
A real, non-ideal inductor has a series winding resistance as it is made of conducting materials, which has some resistance. The non-ideal inductor also has a winding capacitance which is due to the capacitive coupling between the conducting coils.

## Slide 39
Circuit Elements Active circuit elements Passive circuit elements
Resistors Inductors Capacitors
Capacitors
Capacitor
Capacitor is a passive element designed to store energy in its electric field. It consists of two conducting plates separated by an insulator or dielectric. The plate may be aluminium foil while the dielectric may be air, ceramic, paper or mica.
Application
1
2
3
Tuning circuits of radio receivers
Dynamic memory elements in computer system
To block dc, pass ac, shift phase, store energy, start motors and suppress noise.
Types
Two types of capacitors are available. Such as
Fixed capacitor
Variable capacitor or trimmer capacitor or padder

## Slide 40
Circuit Elements Active circuit elements Passive circuit elements
Resistors Inductors Capacitors
Capacitors[Cntd.]
Fig. A capacitor with applied voltage v .
When a voltage source is connected to the capacitor,the source deposits a positive charge +q on one plate and a negative charge −q on the other. The amount of charge stored, represented by q, is directly proportional to the applied voltage so that
q = Cv ,
where, C is known as the capacitance.
Capacitance
Capacitance is the ratio of the charge on one plate of a capacitor to the voltage difference between the two plates, measured in farads (F).
1farad = 1coulomb/volt

## Slide 41
Circuit Elements Active circuit elements Passive circuit elements
Resistors Inductors Capacitors
Capacitors[Cntd.]
Fig. A typical capacitor.
For parallel plate capacitor, the capacitance is given by
sA
d
C = ,
where,
s = Permittivity of the dielectric material between the plates
A = Surface area of each plate
d = Distance between the plates

## Slide 42
Circuit Elements Active circuit elements Passive circuit elements
Resistors Inductors Capacitors
Capacitors[Cntd.]
Current-voltage relationship of a capacitor is given by
i = C
dv
dt
1
∫
t
t0
v = idt + v (t0)
C
The instantaneous power delivered to the capacitor is
p = vi = Cv
dv dt
The energy stored in the capacitor is given by
∫ ∫
t t
−∞ −∞
w = pdt = C v
dv dt
dt = C
∫
v (t)
v (−∞)
1
2
2
vdv = Cv =
q2
2C

## Slide 43
Circuit Elements Active circuit elements Passive circuit elements
Resistors Inductors Capacitors
Capacitors[Cntd.]
When the voltage across a capacitor is not changing with time i,e,
dc voltage ( dv = 0), the current through the capacitor is zero.Thus,
dt
capacitor is an open circuit to dc.However, if a battery (dc voltage)
is connected across a capacitor, the capacitor charges.
A capacitor resists an abrupt change in the voltage across it. A discontinuous change in voltage requires infinite current, which is physically impossible. Conversely, current through a capacitor can change instantaneously.
The ideal capacitor does not dissipate energy. It takes power from the circuit when storing energy in its field and returns previously stored energy when delivering power to the circuit.
A real, non-ideal capacitor has a parallel-model leakage resistance.The leakage resistance may be as high as 100 MΩ and can be neglected for most practical applications.

## Slide 44: References
References
Robert L. Boylestad Introductory Circuit Analysis
Charles K. Alexander, Matthew N. O. Sadiku Fundamentals of Electric Circuits
James W. Nilson
Introductory Circuits for Elictrical and Computer Engineering

## Slide 45: Thank You!