## Slide 1: Analysis of Balanced three phase system

## Slide 2: Delta Load

## Slide 6: Star Load

## Slide 8: Measurement of power by 2 watt meter method
Two Wattmeter Method can be employed to measure the power in a 3 phase, three wire star or delta connected the balanced or unbalanced load.
In Two wattmeter method the current coils of the wattmeter are connected with any two lines, say R and Y and
the potential coil of each wattmeter is joined on the same line, the third line i.e. B as shown below in figure (A).

## Slide 9
The total instantaneous power absorbed by the three loads Z1, Z2 and Z3, are equal to the sum of the powers measured by the Two wattmeters, W1 and W2

## Slide 10: Measurement of Power by Two Wattmeter Method in Star Connection

## Slide 12: Measurement of Power by Two Wattmeter Method in Delta Connection
Considering the delta connected circuit shown in the figure below.

## Slide 14
Hence, to obtain the total power measured by the Two Wattmeter the two equations, i.e. equation (3) and (4) has to be added.
Where P is the total power absorbed in the three loads at any instant

## Slide 15: Faraday’s law of electromagnetic induction

## Slide 16: What is Faraday’s Law
Faraday’s law of electromagnetic induction (referred to as Faraday’s law) is a basic law of electromagnetism predicting how a magnetic field will interact with an electric circuit to produce an electromotive force (EMF).
This phenomenon is known as electromagnetic induction.
Faraday’s law states that a current will be induced in a conductor which is exposed to a changing magnetic field.

## Slide 17: Lenz’s law of electromagnetic induction
Lenz’s law of electromagnetic induction states that
the direction of this induced current will be such that the magnetic field created by the induced current opposes the initial changing magnetic field which produced it.
The direction of this current flow can be determined using Fleming’s right-hand rule.
Faraday’s law of induction explains the working principle of transformers, motors, generators, and inductors.

## Slide 18
Indused emf two types
  Dynamically indused emf
  Statically indused emf.
        Mutually-induced e.m.f.
        Self-induced e.m.f.

## Slide 19: Dynamically induced e.m.f
A is lied within a uniform magnetic field whose flux density is a uniform magnetic field . and the flux density is B wb 3.
In this fig. the movement of the conductor is shown by arrow line. When the conductor A cuts across at right angles to the flux.

## Slide 20
Let, ‘l’= Length of the conductor lying within the field.
And it moves a distance dx in time dt,
The area swept by the conductor is =ldx.
Flux cut by the conductor = l.dx X B,
Change in Flux = B.l.dx weber,
Time= dt second
According to Faraday’s laws. The e.m.f induced in the conductor . And this induced e.m.f is known as dynamically induced e.m.f.

## Slide 21
If the conductor (A) moves at an angle θ with the direction of flux which is shown in (b).

## Slide 22: Statically induced E.m.f:-
Statically induced e.m.f is two types which are – i) Mutually-induced e.m.f. ii) Self-induced e.m.f.
Mutually induced e.m.f:-

## Slide 23
a current will flow through the coil A and produce a magnetic field in which partly links with the coil B.
As current through A is changed, the flux linked with B is also changed.
According to Faraday’s law, induced e.m.f is produced in the coil B and This e.m.f know as mutually induce e.m.f.

## Slide 24: Self-induced e.m.f:
Self-induced e.m.f is the e.m.f which is produced in the coil due to the change of its own flux linked with it.
If the current of the coil is changed, then the flux linked with its own turns will also change which will produce an e.m.f that is called self-induced e.m.f.